## Slide 1: WATCHMANTM A Viable Option for Stroke Risk Reduction
Deepak P. Vivek, MD
April 13, 2019

## Slide 2
Non-Valvular Atrial Fibrillation (NVAF), Stroke, and Current Treatment Options

## Slide 3: AF is a Growing Problem Associated with Greater Morbidity and Mortality
~5 M
people with AF in U.S., expected to more than double by 20501
AF = most common cardiac arrhythmia, and growing
AF increases risk of stroke
5x
greater risk of stroke with AF2
<
  Higher stroke risk for older patients and those with prior stroke or TIA
  15-20% of all strokes are AF-related
  AF results in greater disability compared to non-AF-related stroke
1. Go AS. et al, Heart Disease and Stroke Statistics—2013 Update: A Report From the American Heart Association. Circulation. 2013; 127: e6-e245.
2. Holmes DR, Seminars in Neurology 2010;30:528–536.
‘15 ‘20 ‘30 ’40 ‘50
5M
12M

## Slide 4: AF-related strokes are debilitating
Cognitive Deficits*
Aphasia*
Unable to Walk Unassisted*
Bladder Incontinence*
Depression5
Visual Impairment*
Social Disability*
Employed Post-Stroke2
Hemiparesis*
**compared with stroke patients without AF
*at 6 months post-stroke4
1Chee and Tan. Med J Malaysia 69.3 (2014): 119-23. 2Sreedharan et al. Journ of the neurological sciences 332.1 (2013): 97-101. 3Lamassa et al. Stroke 32.2 (2001): 392-398.4Kelly-Hayes et al. Journ of Stroke and Cerebrovascular Diseases 12.3 (2003): 119-126. 5Loo and Gan. International Journ of Stroke 7.2 (2012): 165-167. 6Holmes DR, Seminars in Neurology 2010;30:528–536.
#1
cause of adult disability worldwide1
1.5X
Stroke
AF-related Stroke
higher disability3**
2X
higher mortality3**
70%
result in death or permanent disability6

## Slide 5: 2014 ACC/AHA/HRS Treatment Guidelines to Prevent Thromboembolism in Patients with AF
Assess stroke risk with CHA2DS2-VASc score
  Score 1: Annual stroke risk 1%, oral anticoagulants or aspirin may be considered
  Score ≥2: Annual stroke risk 2%-15%, oral anticoagulants are recommended
Balance stroke risk reduction benefit vs. bleeding risk
2014 AHA/ACC/HRS Guideline for the Management of Patients with AF
January, CT. et al. 2014 AHA/ACC/HRS Guideline for the Management of Patients With Atrial Fibrillation. JACC. 2014; doi: 10.1016/j.jacc.2014.03.022
CHA2DS2 VASc Score | Recommendation
0 | No anticoagulant
1 | Aspirin (81-325 mg daily) or warfarin (INR 2-3)
≥2 | Oral anticoagulants are recommended (warfarin (INR 2-3), dabigatran, rivaroxaban or apixaban

## Slide 6: Anticoagulant Therapy Carries Risk of Intracerebral Hemorrhage or Death

## Slide 7: Validated Scoring Systems to Assess Stroke Risks
2 Ann Intern Med. 2007;146:857-867; 3. Chest. 2010 Feb;137(2):263-72.

## Slide 8: Validated Scoring Systems to Assess Bleeding Risks
4. Chest. 2010 Nov;138(5):1093-100.
4

## Slide 9: Difficult to Strike Balance in Stroke and Bleeding Risk
CHA2DS2-VASc* Score | Annual % Stroke Risk |  | HAS-BLED** Score | Annual % Bleed Risk
0 | 0 |  | 0 | 0.9
1 | 1.3 |  | 1 | 3.4
2 | 2.2 |  | 2 | 4.1
3 | 3.2 |  | 3 | 5.8
4 | 4.0 |  | 4 | 8.9
5 | 6.7 |  | 5 | 9.1
* 2014 AHA / ACC / HRS Guidelines
** Lip. JACC (2011)
Notes: This benefit risk decision is primarily based on the challenging task of balancing the patient’s risk of stroke with their risk of bleeding.
Currently validated risk models, as seen on this slide, CHADS-VASC and HAS-BLED, serve as one way to frame the discussion.
For example,
[CLICK]
Let’s take a patient with a Chads-Vasc score of 3, where the annual stroke risk is 3.2 percent…..
[CLICK]
Now, if that patient has a Has-Bled score of 2, the annual bleeding risk is moderate at 4.1 percent. Although still quantitatively a greater percent annual risk of bleeding compared to that of stroke, it’s likely that the physician would counsel the patient and family that the benefit risk favors anticoagulation.
That said, there are other important patient variables to consider …that are not reflected in the HAS-BLED score.
These might include a patient’s ability to adhere to a medication…or a condition or lifestyle that might put them at risk for trauma.
These circumstances, unique to an individual patient, despite a low HAS-BLED score, might sway that patient AWAY from anticoagulation.
[CLICK]
Another patient may have a Has-Bled score of 4, where annual bleeding risk is now nearly 9 percent.
This HIGH risk of bleeding relative to stroke …..in the eyes of many patients, families, and physicians ….would likely be considered PROHIBITIVE to long term anticoagulation.
Remember, the HAS-BLED score estimates ANNUAL risk of bleeding. Physicians and patients must then EXTRAPOLATE this to a LIFELONG risk of bleeding on anticoagulation for 10 to 20 years.
So… What might the 10 year risk look like?

## Slide 10: Bleeding Risk Increases Over Patients’ Lifetime
HAS-BLED Score | Annual % Bleed Risk* | 10-Year Bleeding Risk (%)**
0 | 0.9 | 8.6
1 | 3.4 | 29.2
2 | 4.1 | 34.2
3 | 5.8 | 45.0
4 | 8.9 | 60.6
5 | 9.1 | 61.5
* Lip. JACC (2011)
** Assumes constant risk despite increasing age and bleeding risk is independent from bleeding risk in previous years
Notes: Are we underestimating the bleeding risk? This slide shows a model of what we might reasonably expect in terms of 10 year bleeding risks by HAS-BLED score….
This is what’s important – the 10 year risk, not just the one year risk. These patients aren’t going to live just one year, the bleeding risk compounds over time.

## Slide 11: Stroke Treatment Option: Warfarin
Warfarin is an effective means of stroke reduction in patients with AF but can present challenges
Many patients spend a significant amount of time outside of the therapeutic range.
Warfarin tops the list for emergency hospitalizations for adverse drug events in older Americans2
-5
-
-4
-
-3
-
-2
-
-1
INR
Over-anti-coagulated
Under-anti-coagulated
Therapeutic Range
44% of bleeding events occur in patients above therapeutic range1
48% of thromboembolic events occur in patients below therapeutic range1
1 Oake N, et al. Can Med Assoc J. 2007:176(11);1589−1594
2 Budnitz, MD, MPH. et al. Annals of Internal Medicine. 2007:147(11); 229
Notes: Speaker Notes:
The most common treatment for managing AF-related stroke risk is the use of blood thinning medications, such as warfarin (Coumadin®). Despite its proven efficacy, warfarin has a narrow therapeutic range. Additionally, the effectiveness of warfarin varies because of interactions with certain foods and medications, thus requiring frequent blood tests and dose adjustments.
Many patients spend a significant amount of time outside of the therapeutic range. Those patients that are over-anticoagulated are at risk of bleeding, with 44% of bleeding events occurring in patients above the therapeutic range.1 Those who are under-anticoagulated are at risk of stroke, with 48% of thromboembolic events occurring in patients below the therapeutic range. 1
1 Oake N, et al. Can Med Assoc J. 2007:176(11);1589−1594

## Slide 12: Oral Anticoagulation is Standard of Care, but Compliance a Challenge
1. Hsu, J et al. JAMA Cardiol. Published online March 16, 2016. doi:10.1001/jamacardio.2015.0374
Use of OACs in AF Patients peaks at ~50%, use declines with increasing risk
Notes: Anticoagulation Use Declines with Increased Stroke Risk1

## Slide 13: Adherence to DOACs
A retrospective study of 64,661 patients found that only 47.5% of patients on DOACs had >80% adherence during a median follow-up period of 1.1 years
  Apixaban: 52.1%
  Rivaroxaban: 47.6%
  Dabigatran: 45.9%
DOAC adherence was higher than warfarin
  Warfarin: 38.7%
Yao X. J Am Heart Assoc. 2016;5:e003074

## Slide 14: Despite NOAC Adoption and Ability to Switch NOACs, Adherence to Anticoagulation Remains a Challenge
Martinez C, et al. Thromb Haemost. 2015 Dec 22;115(1):31-9.
~30% of NOAC patients stop taking any drug at 2 years

## Slide 15: DOAC Trials Adherence and Bleeding Issues
Treatment | Study Drug Discontinuation Rate | Major Bleeding (rate/year)
Rivaroxaban1 | 24% | 3.6%
Apixaban2 | 25% | 2.1%
Dabigatran3 (150 mg) | 21% | 3.3%
Edoxaban4 (60 mg / 30 mg) | 33 % / 34% | 2.8% / 1.6%
Warfarin1-4 | 17 – 28% | 3.1 – 3.6%
For those that remain adherent, there is an annual compounding bleeding risk
Results from different clinical investigations are not directly comparable. Information provided for educational purposes only
1Connolly, S. NEJM 2009; 361:1139-1151 – 2 yrs follow-up (Corrected) 2Patel, M. NEJM 2011; 365:883-891 – 1.9 yrs follow-up, ITT 3Granger, C NEJM 2011; 365:981-992 – 1.8 yrs follow-up, 4Giugliano, R. NEJM 2013; 369(22): 2093-2104 – 2.8 yrs follow-up.
Notes: Speaker Notes:
However, Novel Oral Anticoagulants also carry the risk of significant bleeding complications, as well as adherence and tolerance issues. Clinical trials for the NOACs show similar major bleeding rates to warfarin and even higher discontinuation rates than warfarin.

## Slide 16: Non-Valvular Atrial Fibrillation (NVAF), Stroke, and Current Treatment Options
AF is a Growing Problem Associated with Greater Morbidity and Mortality
  5x increased risk of stroke
  90% of clots formed in LA come from LAA
Current treatments with warfarin or DNOACS are effective, but many patients stop taking the medications
  ~1 in 4 patients discontinue blood thinners after 2 years
Anti-coagulation bleeding risk compounds over time; may not be viable as a long-term solution for some patients

## Slide 17
Left Atrial Appendage Closure (LAAC) with WATCHMAN

## Slide 18: Connection Between NVAF-Related Stroke and the Left Atrial Appendage
AF Creates Environment for Thrombus Formation in Left Atrium
1. Stoddard et al. Am Heart J. (2003); 2. Goldman et al. J Am Soc Echocardiogr (1999)
3 Blackshear JL. Odell JA., Annals of Thoracic Surg (1996)
Stasis-related LA thrombus is a predictor of TIA1 and ischemic stroke2.
In non-valvular AF, >90% of stroke-causing clots that come from the left atrium are formed in the LAA3.

## Slide 19
One-time implant that does not need to be replaced
Performed in a cardiac cath lab/EP suite by a Heart Team
Transfemoral Access:
  Catheter advanced to the LAA via the femoral vein
  Does not require open heart surgery
General anesthesia (typical)
1 hour procedure (typical)
1-2 day hospital stay (typical)
WATCHMAN LAAC Device:
A One-Time Procedure
Notes: Speaker Notes:
The WATCHMAN Device implant procedure is typically performed under general anesthesia in a catheterization laboratory setting using a standard transseptal technique. The procedure usually lasts about an hour and the patient is typically in the hospital for 24 hours following the procedure.

## Slide 20: WATCHMAN LAAC Device Overview
Nitinol frame radially expands to maintain position in LAA
10 fixation anchors engage LAA tissue for stability and retention
Polyethylene terephthalate (PET) membrane designed to block emboli from exiting the LAA
Anchors
160 Micron Membrane
Designed specifically for the left atrial appendage
Notes: Speaker Notes:
Constructed of a nitinol frame that radially expands to maintain position in the LAA, the WATCHMAN Device comes in five sizes to accommodate various patient anatomies. Ten fixation anchors around the perimeter of the device are designed to engage LAA tissue for stability.
The nitinol frame is covered by a polyethylene terephthalate (PET) cap designed to block emboli from exiting the LAA. Over time, tissue grows over the face of the PET cap.
The WATCHMAN Device is designed specifically for the left atrial appendage. Featuring an intra-LAA design to avoid contact with the left atrial wall, the WATCHMAN Device is engineered to (1) conform to the unique anatomy of the LAA to reduce embolization risk and (2) minimize the surface area facing the left atrium to reduce the risk of post-implant thrombus formation.

## Slide 21: WATCHMAN Implant Procedure: Percutaneous Access
Using a standard percutaneous technique, a guidewire and vessel dilator are inserted into the femoral vein.

## Slide 22: WATCHMAN Implant Procedure: Imaging and Transseptal Access
The interatrial septum is crossed using a standard transseptal access system and the procedure is performed with fluoroscopy and transesophageal echocardiography (TEE)

## Slide 23: WATCHMAN Implant Procedure: Navigating to the LAA
Access sheath is advanced over the guidewire into the
left atrium and then navigated into the distal portion
of the LAA over a pigtail catheter.

## Slide 24: WATCHMAN Implant Procedure: Navigating to the LAA
WATCHMAN is then deployed and released in the LAA.

## Slide 25: WATCHMAN Implant Procedure: Healing after ~45 days
Heart tissue grows over the WATCHMAN Implant, and the LAA is permanently sealed after approximately 45 days

## Slide 26: Implant Animation
If you would like to include the animation in this presentation, please download it from the following link:
https://bostonscientific.box.com/s/bt4jssgnqfkgz1zi95bs1ggjkl3hj1lo
To insert it on this slide.
  Click on “Insert”
  Click on “Video”
    Select “Video from file”
  Go to “Playback”
    Select “Start Automatically” from the dropdown menu next to the volume button
    Select “Play Full Screen”

## Slide 27: Timeline of Adjunctive Pharmacotherapy in WATCHMAN Device Patients
Warfarin + ASA
(81mg) daily
Clopidogrel (75mg) + ASA (325 mg) daily
ASA (325mg) daily
Implant
45 days*
6 months
*if leak >5mm, patients remained on warfarin + ASA until seal documented, skipping the clopidogrel + ASA pharmacotherapy
Post Procedure Therapy
Destination Therapy
Price, M. J., V. Y. Reddy, et al. JACC: CV Interv 2015; 8(15): 1925-1932

## Slide 28
Clinical Data:
Efficacy and Safety

## Slide 29: WATCHMAN is the most studied LAAC Device- Most Patients and Only One with Long-term Clinical Data
Key Trials | N | Highlights
PROTECT AF1 (2005-2008) | 707 | Prospective, randomized 2:1, non-inferiority trial of LAA closure vs. warfarin.
CAP2 (2008-2010) | 566 | Prospective registry allowing continued access to the WATCHMAN Device and gain further information prior to PMA approval.
PREVAIL3 (2010-2012) | 407 | Prospective, randomized 2:1, non-inferiority trial to collect additional information on the WATCHMAN Device.
CAP2 (2012-2014) | 579 | Prospective registry allowing continued access to the WATCHMAN Device prior to PMA approval.
EWOLUTION4 (2013-2015) | 1025 | Prospective, multi-center, all-comers registry capturing current practice in Europe with WATCHMAN implantation
Total patients | >3,000 | ~6,000 Patient-Years of Follow-up
1 Reddy, et al. JAMA. 2014 ;312(19): 1988-1998.; 2 Reddy VY et al. Circulation. 2011; 123:417-424.
3 Holmes et al., JACC 2014,;4(1): 1-11. 4. Boersma LVA, et al. HRJ 2017; In Press.
The EWOLUTION Registry is a European prospective registry which reflects CE Mark indications for use ,which differ from the FDA indications for use.
Notes: WATCHMAN is the most studied LAAC device - most patients and only one with long-term clinical data.
Majority of Patients at High Stroke Risk, All Eligible for Anti-coagulation
Protect AF was prospective, randomized, multicenter trial with 707 patients studying the device versus warfarin.
Cap was a prospective continued access registry collecting additional data on device patients while awaiting approval
Prevail was the 2nd prospective, randomized trial versus warfarin to collect additional device data
Cap2 was another prospective continued access registry after Prevail.
EWOLUTION was a prospective multicenter all-comers registry in Europe. It should be noted that the directions for use in Europe differs from the US. 70% of patients were deemed unsuitable for any oral anti-coagulation. These patients would be contraindicated for a WATCHMAN in the US,
Portfolio of over 3000 patients studied with over 6000 patient years of follow-up
3 positive votes from FDA sponsored panels

## Slide 30: Procedural Success
Implant success defined as deployment and release of the device into the LAA; no leak ≥ 5 mm
* The EWOLUTION Registry is a European prospective registry which reflects CE Mark indications for use which differ from the FDA indications for use.
1 Boersma, L.et al. EHJ 2016;37(31): 2465.; 2 Reddy VY, Holmes DR, et al. JACC 2016; 69(3): 253-261.
~50% new operators
~70% new operators performed 50% of procedures

## Slide 31: WATCHMAN NESTed SAP: Overview
Study Objective | FDA mandated post-market surveillance analysis plan
Study Design | Prospective, newly implanted WATCHMAN device patients nested within the larger LAAO Registry (NCDR)
Primary Endpoints | 1st Effectiveness All-stroke, CV/Unexplained death, and systemic embolism at 24 months 2nd Effectiveness Ischemic stroke or systemic embolism (thrombolic events) at 24 months, excluding the 1st 7 days post implant Safety Endpoint Major safety events between the time of implant and within 7 days of the procedure or by hospital discharge, whichever is later
Patient Population | 2000
Enrollment | On-going
Follow-up | 45 days, 6, 12 and 24 months CMS linkage study patients during years 2-5
Notes: 31
Novel Evaluation of the WATCHMAN LAA Closure Therapy Surveillance Analysis Plan
This is BSC’s portion of the NCDR. This will give us important real-world safety and efficacy data. We have the first 2000 patients, and are working to publish the initial safety results.
TRANSITION: Beyond real-world usage, we are interested in several subpopulations

## Slide 32: Real World Data: NESTed SAP (LAAO Registry) Major Procedural Complications within 7 Days
 | PROTECT AF N=707 | PREVAIL N=407 | CAP N=566 | CAP2 N-579 | EWOLUTION N=1014 | NESTed PAS N=979
Age (yrs) | 72±8.9 | 74.3±7.4 | 74.0±8.3 | 75.3±8.0 | 73±9 | 76.6±8.1
Male (%) | 70.3 | 70 | 65.5 | 61.0 | 59.9 | 61.3
CHADS2 | 2.2 ± 1.2 | 2.4 ± 1.2 | 2.6 ± 1.0 | 2.7 ± 1.1 | 2.8 ± 1.3 | 3.2 ± 1.3
CHA2DS2-VASc | 3.4 ± 1.5 | 3.9 ± 1.5 | 4.0 ± 1.1 | 4.5 ± 1.3 | 4.5 ± 1.6 | 5.0 ± 1.4
HAS-BLED | n/a | n/a | n/a | n/a | 2.4 ± 1.2 | 2.7 ± 1.0
Primary composite safety endpoint: death, ischemic stroke, systemic embolism, or device/procedure-related events necessitating cardiac surgery or major endovascular intervention within either 7-days post-implant or hospital discharge, whichever occurred later.
Varosy P et al. JACC 2018; 71(11): A320.

## Slide 33: Favorable Procedural Safety Profile: All Device and/or Procedure-related Serious Adverse Events within 7 Days
Chart: Patients With Safety Event (%)
| PROTECT AF 1st Half | PROTECT AF 2nd Half | CAP | PREVAIL | CAP2 | EWOLUTION*
Proc/Device Rel. Safety AE w/in 7 days | 0.099 | 0.048 | 0.041 | 0.041 | 0.038 | 0.027
N=232 | N=231 | N=566 | N=269 | N=579 | N=10191
~50% New Operators in PREVAIL
* The EWOLUTION Registry is a European prospective registry which reflects CE Mark indications for use which differ from the FDA indications for use.
1 Boersma, LVA.et al. EHJ 2016; 37(31): 2465.
Notes: The pre-specified safety definitions across the trials differed. So they could be compared, we used a broad definition that included all procedural events in each trial.
Beyond the first half of PREVAIL, safety event rates are low and comparable to other procedures performed in the LA like AF ablation
Procedure complication rates continued to improve with each trial
Especially important, because 50% of the operators in Prevail had no prior experience with LAA closure.

## Slide 34: Favorable Procedural Safety Profile: Major Procedural Complications Across WATCHMAN Studies
Chart: Complication Rates
| PROTECT AF (n=463) | CAP (n=566) | PREVAIL (n=269) | CAP2 (n=579) | EWOLUTION (n=1021) | US Cohort (n=3822)
Pericardial Tamponade | 0.043 | 0.014 | 0.019 | 0.019 | 0.0029 | 0.0102
Procedure-Related Stroke | 0.0115 | 0 | 0.0037 | 0.0035 | 0.001 | 0.00078
Device Embolization | 0.006 | 0.002 | 0.007 | 0 | 0.002 | 0.0024
Procedure-Related Death | 0 | 0 | 0 | 0 | 0.001 | 0.00078
Clinical Trial Experience
Post Approval Experience
PROTECT AF (N=463)
CAP (N=566)
PREVAIL (N=269)
CAP2 (N=579)
EWOLUTION (N=1021)
Post-FDA Approval (N=3822)
* The EWOLUTION Registry is a European prospective registry which reflects CE Mark indications for use which differ from the FDA indications for use.
Reddy VY, Holmes DR, et al. JACC 2016; 69(3): 253-261.

## Slide 35: PROTECT AF/PREVAIL Meta-Analysis (5 Years): WATCHMAN Efficacy Comparable to Warfarin
 | HR | p-value
Efficacy | 0.82 | 0.3
All stroke or SE | 0.96 | 0.9
Ischemic stroke or SE | 1.7 | 0.08
Hemorrhagic stroke | 0.2 | 0.0022
Ischemic stroke or SE >7 days | 1.4 | 0.3
CV/unexplained death | 0.59 | 0.03
All-cause death | 0.73 | 0.04
Major bleed, all | 0.91 | 0.6
Major bleeding, non procedure-related | 0.48 | 0.0003
Chart: 
| 0.82 | 0.96 | 1.7 | 0.2 | 1.4 | 0.59 | 0.73 | 0.91 | 0.48
Y-Values | 8.7 | 7.7 | 6.8 | 5.9 | 4.9 | 3.9 | 3 | 2 | 1.1
Favors WATCHMAN 
 Favors warfarin
Hazard Ratio (95% CI)
Reddy VY, Holmes, DR et al. JACC 2017 in Press.

## Slide 36: PROTECT AF/PREVAIL Meta-Analysis (5 Years): WATCHMAN Stroke-Risk Reduction Comparable to Warfarin
 | HR | p-value
Efficacy | 0.82 | 0.3
All stroke or SE | 0.96 | 0.9
Ischemic stroke or SE | 1.7 | 0.08
Hemorrhagic stroke | 0.2 | 0.0022
Ischemic stroke or SE >7 days | 1.4 | 0.3
CV/unexplained death | 0.59 | 0.03
All-cause death | 0.73 | 0.04
Major bleed, all | 0.91 | 0.6
Major bleeding, non procedure-related | 0.48 | 0.0003
Chart: 
| 0.82 | 0.96 | 1.7 | 0.2 | 1.4 | 0.59 | 0.73 | 0.91 | 0.48
Y-Values | 8.7 | 7.7 | 6.8 | 5.9 | 4.9 | 3.9 | 3 | 2 | 1.1
Favors WATCHMAN 
 Favors warfarin
Hazard Ratio (95% CI)
Reddy VY, Holmes, DR et al. JACC 2017 in Press.

## Slide 37: PROTECT AF/PREVAIL Meta-Analysis (5 Years): WATCHMAN Significant Reduction in Disabling Strokes
Chart: 
| WATCHMAN | warfarin
#REF! | 0.0044 | 0.01
Non-Disabling | 0.0108 | 0.0081
Disabling/Fatal Strokes
Non-Disabling Strokes
Disabling Stroke defined as MRS ≥2
Two strokes in PREVAIL are excluded because the baseline MRS score was unavailable
HR 0.45 (0.21 – 0.94)
P=0.03
55% Lower
Reddy VY, Holmes, DR et al. JACC 2017 in Press.

## Slide 38: PROTECT AF/PREVAIL Meta-Analysis (5 Years): WATCHMAN Mortality Reduction Significant When Compared to Warfarin
 | HR | p-value
Efficacy | 0.82 | 0.3
All stroke or SE | 0.96 | 0.9
Ischemic stroke or SE | 1.7 | 0.08
Hemorrhagic stroke | 0.2 | 0.0022
Ischemic stroke or SE >7 days | 1.4 | 0.3
CV/unexplained death | 0.59 | 0.03
All-cause death | 0.73 | 0.04
Major bleed, all | 0.91 | 0.6
Major bleeding, non procedure-related | 0.48 | 0.0003
Chart: 
| 0.82 | 0.96 | 1.7 | 0.2 | 1.4 | 0.59 | 0.73 | 0.91 | 0.48
Y-Values | 8.7 | 7.7 | 6.8 | 5.9 | 4.9 | 3.9 | 3 | 2 | 1.1
Favors WATCHMAN 
 Favors warfarin
Hazard Ratio (95% CI)
Reddy VY, Holmes, DR et al. JACC 2017 in Press.

## Slide 39: PROTECT AF/PREVAIL Meta-Analysis (5 Years): WATCHMAN Post-Procedure Bleeding Reduction Significant When Compared to Warfarin
 | HR | p-value
Efficacy | 0.82 | 0.3
All stroke or SE | 0.96 | 0.9
Ischemic stroke or SE | 1.7 | 0.08
Hemorrhagic stroke | 0.2 | 0.0022
Ischemic stroke or SE >7 days | 1.4 | 0.3
CV/unexplained death | 0.59 | 0.03
All-cause death | 0.73 | 0.04
Major bleed, all | 0.91 | 0.6
Major bleeding, non procedure-related | 0.48 | 0.0003
Chart: 
| 0.82 | 0.96 | 1.7 | 0.2 | 1.4 | 0.59 | 0.73 | 0.91 | 0.48
Y-Values | 8.7 | 7.7 | 6.8 | 5.9 | 4.9 | 3.9 | 3 | 2 | 1.1
Favors WATCHMAN 
 Favors warfarin
Hazard Ratio (95% CI)
Reddy VY, Holmes, DR et al. JACC 2017 in Press.

## Slide 40: WATCHMAN Major Bleeding Reduction Superior to Warfarin 6-months Post Procedure
p < 0.001
Price, M. J., V. Y. Reddy, et al. JACC: CV Interv 2015; 8(15): 1925-1932
72%
>6 months post-procedure
Freedom of Major Bleeding Over 3 Adjunctive Pharmacotherapy Intervals

## Slide 41: Majority of patients are able to stop long-term warfarin therapy
Study* | 45-day | 12-month
PROTECT AF1 | 87% | >93%
CAP2 | 96% | >96%
PREVAIL3 | 92% | >99%
Warfarin Cessation
*CAP2 N/R
1 Reddy, VY et al. Circulation. 2011;123:417-424; 2 Kar S et al. TCT 2017 (Abstract);; 3 Holmes, DR et al. JACC 2014; 64(1):1-12.

## Slide 42: WATCHMAN Comparable to Warfarin for Ischemic Stroke in 2 RCT, 4 Registries
Source: . Reddy VY, Doshi SK, Kar S, et al. 5-Year Outcomes After Left Atrial Appendage Closure: From the PREVAIL and PROTECT AF Trials. J. Am Coll Cardiol. 2017; In Press

## Slide 43: WATCHMAN is the most studied LAAC Device with Long-term Clinical Data
 | Results | 
Safety | WATCHMAN procedure is safe | 95% implant success; ~1.5% complication rates1
Primary Efficacy | WATCHMAN comparable to warfarin | 18% reduction in events (p=0.27)2
Stroke | WATCHMAN comparable to warfarin | 55% reduction in disabling/fatal stroke (p=0.03)2, largely driven by 80% reduction in hemorrhagic stroke (p=0.003)2
Mortality | WATCHMAN statistically significant to warfarin | 27% reduction in all-cause mortality (p=0.04)2 41% reduction in CV/unexplained mortality (p=0.03)2
Major Bleeding | WATCHMAN statistically significant to warfarin post-procedure | 72% reduction after 6-months (p=0.001)3
Warfarin Cessation | WATCHMAN allows the majority of patients to discontinue warfarin | 92% of patients discontinue after 45-days; 99% of patients discontinue after 1 year4
1. Varosy P et al. JACC 2018; 71(11): A320. 2 Reddy VY et al. JACC. 2017; 70(24): 2964-2975. 3. Price, M. J., V. Y. Reddy, et al. JACC: CV Interv 2015; 8(15): 1925-1932; 4. Holmes, DR et al. JACC 2014; 64(1): 1-12; 6.

## Slide 44
Patient Selection

## Slide 45: Patient Populations
Patients w/ appropriate rationale to seek a non-pharmacologic alternative to warfarin
History of bleeding
Fall risks / previous trauma
Non-compliant / Labile INR’s
Lifestyle
Non-Valvular A-Fib Population
High Risk for Stroke (CHA2DS2-VASC ≥ 2)
Tolerant to OAC
Contraindicated
Balance stroke risk reduction benefit vs. bleeding risk

## Slide 46: WATCHMANTM Therapy Candidates
Bleeder
(Previous bleed but on OAC)
Future Bleeder
(No prior bleeds but high-risk / include fall risk)
Contra-indicated
(Cannot take any OAC)
Non-Compliant
(tolerant but not taking OAC)
Lifestyle
(Patient prefers device over OAC)
  What type of LAAC candidates are you referring today?

## Slide 47: WATCHMAN Device Patient Selection
The WATCHMAN Device is indicated to reduce the risk of thromboembolism from the left atrial appendage in patients with non-valvular atrial fibrillation who:
  Are at increased risk for stroke and systemic embolism based on CHADS2 or CHA2DS2-VASc scores and are recommended for anticoagulation therapy;
  Are deemed by their physicians to be suitable for warfarin; and
  Have an appropriate rationale to seek a non-pharmacologic alternative to warfarin, taking into account the safety and effectiveness of the device compared to warfarin.
* Please refer to product DFU for more specific details on patient selection
Notes: Speaker Notes:
The WATCHMAN Device is indicated to reduce the risk of thromboembolism from the left atrial appendage in patients with non-valvular atrial fibrillation who are at increased risk for stroke and systemic embolism based on CHADS2 or CHA2DS2-VASc scores, are deemed by their physicians to be suitable for warfarin, and have an appropriate rationale to seek a non-pharmacologic alternative to warfarin.

## Slide 48
  “Have an appropriate rationale to seek a non-pharmacologic alternative to warfarin, taking into account the safety and effectiveness of the device compared to warfarin”
History of major bleeding while taking anticoagulation therapy
Patient’s prior experience with OAC (if applicable):
  inability to maintain stable INR
  inability to comply with regular INR monitoring and unavailability of an approved alternative OAC
Medical condition, occupation, or lifestyle placing patient at high risk of major bleeding secondary to trauma
WATCHMAN Device Patient Selection
* Please refer to product DFU for more specific details on patient selection
Notes: Speaker Notes:
In considering the use of the WATCHMAN Device, the rationale for seeking an alternative to long-term warfarin therapy and the safety and effectiveness of the device compared to warfarin should be taken into account.
Selection among available treatment options must first take into account whether anticoagulation is indicated to reduce the risk of stroke based on CHADS2 or CHA2DS2-VASc scores. Next, in a patient who is deemed by their physicians to be suitable for anticoagulation with warfarin, physicians and patients should consider the rationale for implantation of the WATCHMAN Device as an alternative to long-term warfarin therapy. Specific factors may include one or more of the following:
A history of major bleeding while taking therapeutic anticoagulation therapy.
The patient’s prior experience with oral anticoagulation (if applicable), which may include an inability to maintain a stable therapeutic International Normalized Ratio (INR) or inability to comply with regular INR monitoring AND unavailability of an approved alternative anticoagulation agent.
A medical condition, occupation, or lifestyle placing the patient at high risk of major bleeding secondary to trauma. Some studies of patients with a history of falls, or at risk for falls and head trauma, have shown that the benefits of anticoagulation therapy to reduce the risk of stroke outweigh the risk of major, life-threatening bleeding. An individualized benefit and risk assessment should be made in such patients.1,2,3
The presence of indication(s) for long-term warfarin use, other than non-valvular atrial fibrillation (e.g. mechanical heart valve, hypercoagulable states, recurrent deep venous thrombosis).
Specific factors that need to be considered for the WATCHMAN Device and implantation procedure include the following:
Overall medical status, including conditions which might preclude the safety of a percutaneous, transcatheter procedure.
Suitability for percutaneous, trans-septal procedures, including considerations of:
Cardiac anatomy relating to the LAA size and shape.
Vascular access anatomy (e.g., femoral vein size, thrombus, or tortuosity.)
Ability of the patient to tolerate general or local anesthesia.
Ability of the patient to undergo required imaging.
Ability to comply with the recommended post-WATCHMAN Device implant pharmacologic regimen, especially for patients at high risk for bleeding, i.e., the need for warfarin plus aspirin for at least 45 days post-device implantation, clopidogrel and aspirin through 6 months post-procedure, and aspirin indefinitely.
1American Geriatrics Society/British Geriatrics Society Clinical Practice Guideline for Prevention of Falls in Older Persons. J Am Geriat Soc. 2010 (http://www. americangeriatrics.org/files/documents/health_care_pros/JAGS.Falls.Guidelines.pdf)
2Seller MB, Newby LK. Atrial Fibrillation, Anticoagulation, Fall Risk, and Outcomes in Elderly Patients. Am Heart J. 2011; 161:241-246.
3Donzé J, Clair C, Hug B, Rodondi N, Waeber G, Cornuz J, Aujesky D. Risk of Falls and Major Bleeds in Patients on Oral Anticoagulation Therapy. Am J Med. 2012 Aug;125(8):773-8.

## Slide 49: CMS National Coverage Decision Criteria for Coverage
CMS will cover percutaneous LAAC implants when specific criteria are met:
  Eligible patients must have a CHADS2 score ≥ 2 or a CHA2DS2-VASc score ≥ 3
  Patients must be suitable for short-term warfarin, but deemed unable to take long-term oral anticoagulation
  Documented evidence of a formal shared decision interaction between the patient and an independent non-interventional physician using an OAC evidence-based decision tool
  LAA Registry: Patients must be enrolled in a prospective national registry
  Operator requirements: IC or EP or cardiovascular surgeon must have performed at least 25 transseptal punctures (TSP) through intact septum
    Must maintain at least 25 TSP over a two year period (at least 12 are LAAC)
  Facility Requirements: The procedure must be furnished in a hospital with an established structural heart disease (SHD) and/or electrophysiology (EP) program
Documented in medical record

## Slide 50: Patient Example #1: High Bleeding Risk
Age: 80; Involved Grandfather; NVAF, Congestive Heart Failure, Hypertension, Diabetes
CHA2DS2-VASc score: 5; HAS-BLED score: 2
Although patient is suitable for warfarin, he is currently taking 15 mg rivaroxaban daily
Has a history of recurrent falls, resulting in both a broken hip and cerebral contusion after falling on separate occasions. His physician believes his medical condition places him at high risk of major bleeding secondary to trauma
Is he a candidate for WATCHMAN?
Case description for educational purposes; Not a real patient case
Notes: Physician determined he is a potential candidate for a WATCHMAN Implant

## Slide 51: Patient Example #2: Struggle with Compliance
Age: 68; Retired, Volunteer; NVAF, Hypertension, Vascular Disease
CHA2DS2-VASc score: 4; HAS-BLED score: 3
Currently taking 5 mg warfarin
Unable to comply with regular INR monitoring due to her proximity to the clinic and cannot afford novel oral anticoagulant (NOAC) medication
Is she a candidate for WATCHMAN?
Case description for educational purposes; Not a real patient case
Notes: INADEQUATE CONTROL ON OACS AND MEDICATION COSTS CREATE CHALLENGES
Physician determined she is a potential candidate for a WATCHMAN Implant

## Slide 52: Patient Example #3: Dislikes Warfarin
Age: 65; Retired, NVAF, Hypertension, CHF, Alcohol use (>8 drinks per week)
CHA2DS2-VASc = 3; HAS-BLED = 3
Currently taking 5 mg warfarin
Patient dislikes taking warfarin; alcohol use effects ability to maintain INR
Is he a candidate for WATCHMAN?
Case description for educational purposes; Not a real patient case

## Slide 53: WATCHMAN Is A Safe, Effective, One-time Procedure For Appropriate NVAF Patients
The WATCHMAN Implant has been proven to be a safe and effective alternative to long-term oral anticoagulants (OACs)1
Left atrial appendage closure (LAAC) with WATCHMAN may eliminate the need for long-term warfarin use in patients with non-valvular atrial fibrillation (NVAF) who have a reason to seek an alternative to OACs
The WATCHMAN Implant has been proven to offer stroke risk reduction comparable to warfarin—and also reduces the long-term risk of bleeding associated with warfarin use.2
1. Holmes DR . JACC 2014;64(1):1-12. 2. Holmes DR. JACC 2015;65(24):2614-2623.

## Slide 55
\

## Slide 56: BACKUP

## Slide 57: WATCHMAN Stroke Risk Reduction
WATCHMAN reduces stroke risk comparably to those treated with OAC
Stroke risk reduction most pronounced when compared to patients left untreated
No statistical difference in cardiovascular or all-cause mortality between those who had a DRT and those who did not
WATCHMAN Stroke Risk Reduction Comparable to OAC, Most Pronounced for Those Who Are Currently Untreated
Source: Reddy v et al. Circulation 2018. In Press Expected rates calculated referencing Friberg et al. EHJ 2012; Olesen et al. Thromb Haemost 2011.

## Slide 58: Device Related Thrombus was an Uncommon Cause of Stroke
Chart: 
| No DRT, No SSE | No DRT, SSE | DRT, No SSE | DRT + SSE
Patients | 1560 | 114 | 48 | 17
If a DRT is present, therapeutic anticoagulation should be promptly initiated and patients closely followed
Following the WATCHMAN labeling regarding post-implant medication and monitoring is an important part of post-implant surveillance
n=17 patients, 19 events
Less than 1% of Patients Implanted with a WATCHMAN Experienced a DRT and SSE
Reddy v et al. Circulation 2018. In press.

## Slide 59: ABBREVIATED STATEMENT (US) WATCHMANTM Left Atrial Appendage Closure Device with Delivery System and WATCHMAN Access System
Indications for use
The WATCHMAN Device is indicated to reduce the risk of thromboembolism from the left atrial appendage in patients with non-valvular atrial fibrillation who:
Are at increased risk for stroke and systemic embolism based on CHADS2 or CHA2DS2-VASc scores and are recommended for anticoagulation therapy;
Are deemed by their physicians to be suitable for warfarin; and
Have an appropriate rationale to seek a non-pharmacologic alternative to warfarin, taking into account the safety and effectiveness of the device compared to warfarin.
The WATCHMAN Access System is intended to provide vascular and transseptal access for all WATCHMAN Left Atrial Appendage Closure Devices with Delivery Systems.
Contraindications
Do not use the WATCHMAN Device if:
Intracardiac thrombus is visualized by echocardiographic imaging.
An atrial septal defect repair or closure device or a patent foramen ovale repair or closure device is present.
The LAA anatomy will not accommodate a device. See Table 46 in the DFU.
Any of the customary contraindications for other percutaneous catheterization procedures (e.g., patient size too small to accommodate TEE probe or required catheters) or conditions (e.g., active infection, bleeding disorder) are present.
There are contraindications to the use of warfarin, aspirin, or clopidogrel.
The patient has a known hypersensitivity to any portion of the device material or the individual components (see Device Description section) such that the use of the WATCHMAN Device is contraindicated.
Warnings
Device selection should be based on accurate LAA measurements obtained using fluoro and ultrasound guidance (TEE recommended) in multiple angles (e.g., 0º, 45º, 90º, 135º).
Do not release the WATCHMAN Device from the core wire if the device does not meet all release criteria.
If thrombus is observed on the device, warfarin therapy is recommended until resolution of thrombus is demonstrated by TEE.
The potential for device embolization exists with cardioversion <30 days following device implantation. Verify device position post-cardioversion during this period.
Administer appropriate endocarditis prophylaxis for 6 months following device implantation. The decision to continue endocarditis prophylaxis beyond 6 months is at physician discretion.
For single use only. Do not reuse, reprocess, or resterilize.
Precautions
The safety and effectiveness (and benefit-risk profile) of the WATCHMAN Device has not been established in patients for whom long-term anticoagulation is determined to be contraindicated.
The LAA is a thin-walled structure. Use caution when accessing the LAA and deploying the device.
Use caution when introducing the WATCHMAN Access System to prevent damage to cardiac structures.
Use caution when introducing the Delivery System to prevent damage to cardiac structures.
To prevent damage to the Delivery Catheter or device, do not allow the WATCHMAN Device to protrude beyond the distal tip of the Delivery Catheter when inserting the Delivery System into the Access Sheath.
If using a power injector, the maximum pressure should not exceed 100 psi.
In view of the concerns that were raised by the RE-ALIGN1 study of dabigatran in the presence of prosthetic mechanical heart valves, caution should be used when prescribing oral anticoagulants other than warfarin in patients treated with the WATCHMAN Device. The WATCHMAN Device has only been evaluated with the use of warfarin post-device implantation.
ADVERSE EVENTS
Potential adverse events (in alphabetical order) which may be associated with the use of a left atrial appendage closure device or implantation procedure include but are not limited to:
Air embolism, Airway trauma, Allergic reaction to contrast media/medications or device materials, Altered mental status, Anemia requiring transfusion, Anesthesia risks, Angina, Anoxic encephalopathy, Arrhythmias, Atrial septal defect , AV fistula , Bruising, hematoma or seroma, Cardiac perforation , Chest pain/discomfort, Confusion post procedure, Congestive heart failure, Contrast related nephropathy, Cranial bleed, Decreased hemoglobin, Deep vein thrombosis, Death, Device embolism, Device fracture, Device thrombosis, Edema, Excessive bleeding, Fever, Groin pain, Groin puncture bleed, Hematuria, Hemoptysis, Hypotension, Hypoxia, Improper wound healing, Inability to reposition, recapture, or retrieve the device, Infection / pneumonia, Interatrial septum thrombus, Intratracheal bleeding, Major bleeding requiring transfusion, Misplacement of the device / improper seal of the appendage / movement of device from appendage wall, Myocardia erosion, Nausea, Oral bleeding, Pericardial effusion / tamponade, Pleural effusion, Prolonged bleeding from a laceration, Pseudoaneurysm, Pulmonary edema, Renal failure, Respiratory insufficiency / failure, Surgical removal of the device, Stroke – Ischemic , Stroke – Hemorrhagic, Systemic embolism, TEE complications (throat pain, bleeding, esophageal trauma), Thrombocytopenia, Thrombosis, Transient ischemic attack (TIA), Valvular damage, Vasovagal reactions
There may be other potential adverse events that are unforeseen at this time.
CAUTION: Federal law (USA) restricts this device to sale by or on the order of a physician. Rx only. Prior to use, please see the complete “Directions for Use” for more information on Indications, Contraindications, Warnings, Precautions, Adverse Events, and Operator’s Instructions.
© 2015 Boston Scientific Corporation or its affiliates. All rights reserved.
1Eikelboom JW, Connolly SJ, Brueckmann M, et al. N Engl J Med 2013;369:1206-14.